## Single
Worksheet for Reinforcing Percent Effective at Critical Locations in a Single Cell RCB Culvert
General Input
Maintenance Number: | 0191.0S092
Design Number: | Adair 1065
Date: | 2015-07-30
By: | JSI
Concrete Strength: | 3.5
Reinforcement Strength: | 40
Rating Code: | LFR
Location: Slab - Top - Corner
Bar Size: | 6 | Basic Development Length = | #NAME?
Horiz. Leg Length: | 20 | Top Bar Factor = | #NAME?
Center-to-Center Spacing: | 12 | Epoxy Coated Factor = | 1
Epoxy Coated? | No | Spacing Factor = | 0.8
Slab Thickness: | 12 | Development Length = | #NAME?
Critical Section Location From Outside Face of Wall - |  | Available Length (Flexure) = | 9.5
Flexure: | 12 | Available Length (Shear) = | -6.2
Shear: | 27.7
Side Clear Cover: | 1.5 | Percent Effective (Flexure) = | #NAME?
Top Clear Cover: | 1.5 | Percent Effective (Shear) = | #NAME?
Location: Slab - Bottom - Midspan - Exterior Cell
Bar 1 (Full Width) Size: | 8 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 5 | Top Bar Factor = | 1
Bar 2 Length from 0.4 Pt. to End: |  | Epoxy Coated Factor = | 1
Bar 1 Center-to-Center Spacing: | 12 | Spacing Factor = | 0.8
Epoxy Coated? | No | Development Length = | #NAME?
Bottom Clear Cover: | 2 | Available Length (Flexure) = | 0
|  | Percent Effective (Flexure) = | #NAME?
Location: Floor - Bottom - Corner
Bar Size: | 5 | Basic Development Length = | #NAME?
Horiz. Leg Length: | 10 | Top Bar Factor = | 1
Center-to-Center Spacing: | 12 | Epoxy Coated Factor = | 1
Epoxy Coated? | No | Spacing Factor = | 0.8
Critical Section Location From Outside Face of Wall - |  | Development Length = | #NAME?
Flexure: | 12 | Available Length (Flexure) = | -0.5
Shear: | 25.6 | Available Length (Shear) = | -14.1
Side Clear Cover: | 1.5
Bottom Clear Cover: | 3.5 | Percent Effective (Flexure) = | #NAME?
|  | Percent Effective (Shear) = | #NAME?
Location: Floor - Top - Midspan - Exterior Cell
Bar 1 (Full Width) Size: | 8 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 5 | Top Bar Factor = | #NAME?
Bar 2 Length from 0.4 Pt. to End: |  | Epoxy Coated Factor = | 1
Bar 1 Center-to-Center Spacing: | 12 | Spacing Factor = | 0.8
Floor Thickness: | 14 | Development Length = | #NAME?
Epoxy Coated? | No | Available Length (Flexure) = | 0
Top Clear Cover: | 1.5
|  | Percent Effective (Flexure) = | #NAME?

## Twin
Worksheet for Reinforcing Percent Effective at Critical Locations in a Twin Cell RCB Culvert
General Input
Maintenance Number: | 0191.0S092
Design Number: | Adair 1065
Date: | 2015-07-30
By: | JSI
Concrete Strength: | 3.5
Reinforcement Strength: | 40
Rating Code: | LFR
Location: Slab - Top - Corner
Bar Size: | 6 | Basic Development Length = | #NAME?
Horiz. Leg Length: | 20 | Top Bar Factor = | #NAME?
Center-to-Center Spacing: | 12 | Epoxy Coated Factor = | 1
Epoxy Coated? | No | Spacing Factor = | 0.8
Slab Thickness: | 12 | Development Length = | #NAME?
Critical Section Location From Outside Face of Wall - |  | Available Length (Flexure) = | 9.5
Flexure: | 12 | Available Length (Shear) = | -6.2
Shear: | 27.7
Side Clear Cover: | 1.5 | Percent Effective (Flexure) = | #NAME?
Top Clear Cover: | 1.5 | Percent Effective (Shear) = | #NAME?
Location: Slab - Top - Interior Wall - Exterior Cell
Bar 1 (Full Width) Size: | 10 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 5 | Top Bar Factor = | #NAME?
Bar 2 Length from CL Wall to End: | 20 | Epoxy Coated Factor = | 1
Bar 1 or 2 Center-to-Center Spacing: | 24 | Spacing Factor = | 0.8
Epoxy Coated? | No | Development Length = | #NAME?
Slab Thickness: | 12 | Available Length (Flexure) = | 14
Critical Section Location From Centerline of Wall - |  | Available Length (Shear) = | -1.2
Flexure: | 6
Shear: | 21.2 | Percent Effective (Flexure) = | #NAME?
Top Clear Cover: | 1.5 | Percent Effective (Shear) = | #NAME?
Location: Slab - Bottom - Midspan - Exterior Cell
Bar 1 (Full Width) Size: | 8 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 5 | Top Bar Factor = | 1
Bar 2 Length from 0.4 Pt. to End: |  | Epoxy Coated Factor = | 1
Bar 1 Center-to-Center Spacing: | 12 | Spacing Factor = | 0.8
Epoxy Coated? | No | Development Length = | #NAME?
Bottom Clear Cover: | 2 | Available Length (Flexure) = | 0
|  | Percent Effective (Flexure) = | #NAME?
Location: Floor - Bottom - Corner
Bar Size: | 5 | Basic Development Length = | #NAME?
Horiz. Leg Length: | 10 | Top Bar Factor = | 1
Center-to-Center Spacing: | 12 | Epoxy Coated Factor = | 1
Epoxy Coated? | No | Spacing Factor = | 0.8
Critical Section Location From Outside Face of Wall - |  | Development Length = | #NAME?
Flexure: | 12 | Available Length (Flexure) = | -0.5
Shear: | 25.6 | Available Length (Shear) = | -14.1
Side Clear Cover: | 1.5
Bottom Clear Cover: | 3.5 | Percent Effective (Flexure) = | #NAME?
|  | Percent Effective (Shear) = | #NAME?
Location: Floor - Bottom - Interior Wall - Exterior Cell
Bar 1 (Full Width) Size: | 10 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 9 | Top Bar Factor = | 1
Bar 2 Length from CL Wall to End: | 37 | Epoxy Coated Factor = | #NAME?
Bar 1 or 2 Center-to-Center Spacing: | 24 | Spacing Factor = | 0.8
Epoxy Coated? | Yes | Development Length = | #NAME?
Floor Thickness: | 8 | Available Length (Flexure) = | 35
Critical Section Location From Centerline of Wall - |  | Available Length (Shear) = | 35
Flexure: | 2
Shear: | 2 | Percent Effective (Flexure) = | #NAME?
Bottom Clear Cover: | 3.5 | Percent Effective (Shear) = | #NAME?
Location: Floor - Top - Midspan - Exterior Cell
Bar 1 (Full Width) Size: | 8 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 5 | Top Bar Factor = | #NAME?
Bar 2 Length from 0.4 Pt. to End: |  | Epoxy Coated Factor = | 1
Bar 1 Center-to-Center Spacing: | 12 | Spacing Factor = | 0.8
Floor Thickness: | 14 | Development Length = | #NAME?
Epoxy Coated? | No | Available Length (Flexure) = | 0
Top Clear Cover: | 1.5
|  | Percent Effective (Flexure) = | #NAME?

## Triple
Worksheet for Reinforcing Percent Effective at Critical Locations in a Triple Cell RCB Culvert
*CALCULATIONS FOR ORIGINAL PORTION OF CULVERT*
General Input
Maintenance Number: | 3155.9S052
Design Number: | Dubuque 164
Date: | 2015-08-21
By: | TJC
Concrete Strength: | 3.5
Reinforcement Strength: | 40
Rating Code: | LFR
Location: Slab - Top - Corner
Bar Size: | 8 | Basic Development Length = | #NAME?
Horiz. Leg Length: | 37.5 | Top Bar Factor = | #NAME?
Center-to-Center Spacing: | 10 | Epoxy Coated Factor = | 1
Epoxy Coated? | No | Spacing Factor = | 0.8
Slab Thickness: | 18 | Development Length = | #NAME?
Critical Section Location From Outside Face of Wall - |  | Available Length (Flexure) = | 27
Flexure: | 12 | Available Length (Shear) = | 2.5
Shear: | 36.5
Side Clear Cover: | 1.5 | Percent Effective (Flexure) = | #NAME?
Top Clear Cover: | 1.5 | Percent Effective (Shear) = | #NAME?
Location: Slab - Top - Interior Wall - Exterior Cell
Bar 1 (Full Width) Size: | None | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 9 | Top Bar Factor = | #NAME?
Bar 2 Length from CL Wall to End: | 48 | Epoxy Coated Factor = | 1
Bar 1 or 2 Center-to-Center Spacing: | 10 | Spacing Factor = | 0.8
Epoxy Coated? | No | Development Length = | #NAME?
Slab Thickness: | 18 | Available Length (Flexure) = | 42
Critical Section Location From Centerline of Wall - |  | Available Length (Shear) = | 17.7
Flexure: | 6
Shear: | 30.3 | Percent Effective (Flexure) = | #NAME?
Top Clear Cover: | 1.5 | Percent Effective (Shear) = | #NAME?
Location: Slab - Top - Interior Wall - Interior Cell
Bar 1 (Full Width) Size: | None | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 9 | Top Bar Factor = | #NAME?
Bar 2 Length from CL Wall to End: | 48 | Epoxy Coated Factor = | 1
Bar 1 or 2 Center-to-Center Spacing: | 10 | Spacing Factor = | 0.8
Epoxy Coated? | No | Development Length = | #NAME?
Slab Thickness: | 18 | Available Length (Flexure) = | 42
Critical Section Location From Centerline of Wall - |  | Available Length (Shear) = | 17.7
Flexure: | 6
Shear: | 30.3 | Percent Effective (Flexure) = | #NAME?
Top Clear Cover: | 1.5 | Percent Effective (Shear) = | #NAME?
Location: Slab - Bottom - Midspan - Exterior Cell
Bar 1 (Full Width) Size: | 6 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 6 | Top Bar Factor = | 1
Bar 2 Length from 0.4 Pt. to End: | 39 | Epoxy Coated Factor = | 1
Bar 1 Center-to-Center Spacing: | 10 | Spacing Factor = | 1
Epoxy Coated? | No | Development Length = | #NAME?
Bottom Clear Cover: | 1.5 | Available Length (Flexure) = | 39
|  | Percent Effective (Flexure) = | #NAME?
Location: Slab - Bottom - Midspan - Interior Cell
Bar 1 (Full Width) Size: | 6 | Basic Development Length = | NA
Bar 2 (Partial Width) Size: | None | Top Bar Factor = | NA
Bar 2 Length from 0.5 Pt. to End: |  | Epoxy Coated Factor = | NA
Bar 1 Center-to-Center Spacing: |  | Spacing Factor = | NA
Epoxy Coated? | No | Development Length = | NA
Bottom Clear Cover: |  | Available Length (Flexure) = | NA
|  | Percent Effective (Flexure) = | 100%
Location: Floor - Bottom - Corner
Bar Size: | 8 | Basic Development Length = | #NAME?
Horiz. Leg Length: | 37.5 | Top Bar Factor = | 1
Center-to-Center Spacing: | 10 | Epoxy Coated Factor = | 1
Epoxy Coated? | No | Spacing Factor = | 0.8
Critical Section Location From Outside Face of Wall - |  | Development Length = | #NAME?
Flexure: | 12 | Available Length (Flexure) = | 27
Shear: | 31.5 | Available Length (Shear) = | 7.5
Side Clear Cover: | 1.5
Bottom Clear Cover: | 3.5 | Percent Effective (Flexure) = | #NAME?
|  | Percent Effective (Shear) = | #NAME?
Location: Floor - Bottom - Interior Wall - Exterior Cell
Bar 1 (Full Width) Size: | None | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 8 | Top Bar Factor = | 1
Bar 2 Length from CL Wall to End: | 48 | Epoxy Coated Factor = | 1
Bar 1 or 2 Center-to-Center Spacing: | 10 | Spacing Factor = | 0.8
Epoxy Coated? | No | Development Length = | #NAME?
Floor Thickness: | 20 | Available Length (Flexure) = | 42
Critical Section Location From Centerline of Wall - |  | Available Length (Shear) = | 22.5
Flexure: | 6
Shear: | 25.5 | Percent Effective (Flexure) = | #NAME?
Bottom Clear Cover: | 3.5 | Percent Effective (Shear) = | #NAME?
Location: Floor - Bottom - Interior Wall - Interior Cell
Bar 1 (Full Width) Size: | None | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 8 | Top Bar Factor = | 1
Bar 2 Length from CL Wall to End: | 48 | Epoxy Coated Factor = | 1
Bar 1 or 2 Center-to-Center Spacing: | 10 | Spacing Factor = | 0.8
Epoxy Coated? | No | Development Length = | #NAME?
Floor Thickness: | 20 | Available Length (Flexure) = | 42
Critical Section Location From Centerline of Wall - |  | Available Length (Shear) = | 22.5
Flexure: | 6
Shear: | 25.5 | Percent Effective (Flexure) = | #NAME?
Bottom Clear Cover: | 3.5 | Percent Effective (Shear) = | #NAME?
Location: Floor - Top - Midspan - Exterior Cell
Bar 1 (Full Width) Size: | 6 | Basic Development Length = | #NAME?
Bar 2 (Partial Width) Size: | 6 | Top Bar Factor = | #NAME?
Bar 2 Length from 0.4 Pt. to End: | 44 | Epoxy Coated Factor = | 1
Bar 1 Center-to-Center Spacing: | 10 | Spacing Factor = | 1
Floor Thickness: | 20 | Development Length = | #NAME?
Epoxy Coated? | No | Available Length (Flexure) = | 44
Top Clear Cover: | 1.5
|  | Percent Effective (Flexure) = | #NAME?
Location: Floor - Top - Midspan - Interior Cell
Bar 1 (Full Width) Size: | 6 | Basic Development Length = | NA
Bar 2 (Partial Width) Size: | None | Top Bar Factor = | NA
Bar 2 Length from 0.5 Pt. to End: |  | Epoxy Coated Factor = | NA
Bar 1 Center-to-Center Spacing: |  | Spacing Factor = | NA
Floor Thickness: |  | Development Length = | NA
Epoxy Coated? |  | Available Length (Flexure) = | NA
Top Clear Cover:
|  | Percent Effective (Flexure) = | 100%